MASTERSPEC text, Copyright 1994, AIA, The American Institute of Architects

Paragraph number formatting method, Copyright 1988, ARCOM, Architectural Computer Services, Inc.

SECTION 014000 – QUALITY CONTROL

Latest Update: 08-09-2020   See Underlined Text for Edits.

(A/E shall edit specifications and blue text in header to meet project requirements. This includes but is not limited to updating Equipment and/or Material Model Numbers indicated in the specifications and adding any additional specifications that may be required by the project. Also turn off all “Under Lines”)

PART 1 – GENERAL

  - RELATED DOCUMENTS

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

  - SUMMARY

- This Section includes administrative and procedural requirements for quality-control services.

- Quality-control services include inspections, tests, and related actions, including reports, performed by Contractor, by independent agencies, and by governing authorities. They do not include contract enforcement activities performed by the University.

- Inspection and testing services are required to verify compliance with requirements specified or indicated. These services do not relieve Contractor of responsibility for compliance with Contract Document requirements.

RETAIN PARA BELOW TO CLARIFY THE APPLICABILITY OF PROVISIONS IN THIS SECTION.  MODIFY TO SUIT PROJECT.  COORDINATE MODIFICATIONS WITH GENERAL CONDITIONS AND OTHER DIVISION 1 SECTIONS.  SEE AIA DOCUMENT A201, PARAS 3.3.3, 13.5.1, and 13.5.2.

  - RESPONSIBILITIES

RETAIN PARA BELOW FOR NORMAL PROJECTS WHERE CONTRACTOR IS RESPONSIBLE FOR PROVIDING QUALITY-CONTROL SERVICES.  REVISE FOR MULTIPLE PRIME CONTRACTS.  SEE EVALUATIONS FOR FURTHER DISCUSSION.

- Contractor Responsibilities: Unless otherwise indicated as the responsibility of another identified entity, Contractor shall provide inspections, tests, and other quality-control services specified elsewhere in the Contract Documents and required by authorities having jurisdiction. Costs for these services are included in the Contract Sum. <EDITOR SHOULD SELECT EITHER NO. 2 OR NO. 3>

RETAIN SUBPARA BELOW WHEN SOME SECTIONS REQUIRE AN INDEPENDENT TESTING AGENCY TO PERFORM CERTAIN TESTS AND INSPECTIONS.

- Where individual Sections specifically indicate that certain inspections, tests, and other quality-control services are the Contractor's responsibility, the Contractor may perform testing by its own workforce. The Contractor shall employ and pay a qualified independent testing agency to perform quality-control services for the following list of testing requirements:  Costs for these services are included in the Contract Sum.  <EDITOR SHALL LIST TESTING PROCEDURES THAT REQUIRE AN INDEPENDENT TESTING AGENCY.>

RETAIN SUBPARA BELOW WHEN SOME SECTIONS DESIGNATE THE OWNER AS RESPONSIBLE FOR CERTAIN TESTS AND INSPECTIONS.

- Where individual Sections specifically indicate that certain inspections, tests, and other quality-control services are the University's responsibility, the University will employ and pay a qualified independent testing agency to perform those services.

DELETE SUBPARA ABOVE AND RETAIN BELOW WHERE THE COST OF INSPECTIONS AND TESTS MUST BE INCLUDED IN THE CONTRACT SUM, AND OWNER WANTS TO RETAIN CONTROL OF QUALITY-CONTROL SERVICES OVER CERTAIN CONSTRUCTION OPERATIONS.

- Where individual Sections specifically indicate that certain inspections, tests, and other quality-control services are the University's responsibility, the University will engage the services of a qualified independent testing agency to perform those services. Payment for these services will be made from the Inspection and Testing Allowance, as authorized by Change Orders.RETAIN SUBPARA BELOW WITH EITHER SUBPARA ABOVE TO ASSURE VALIDITY OF THE AGENCIES REPORTS.

- Where the University has engaged a testing agency for testing and inspecting part of the Work, and the Contractor is also required to engage an entity for the same or related element, the Contractor shall not employ the entity engaged by the University, unless agreed to in writing by the University.

RETAIN PARA BELOW (IT IS NOT COVERED IN THE GENERAL CONDITIONS) AND INSERT SPECIAL PROJECT REQUIREMENTS.  ADDITIONAL REQUIREMENTS MIGHT INCLUDE THE ARCHITECT'S RIGHT TO REQUIRE USE OF A DIFFERENT LABORATORY FOR RETESTING.

- Retesting:  The Contractor is responsible for retesting where results of inspections, tests, or other quality-control services prove unsatisfactory and indicate noncompliance with Contract Document requirements, regardless of whether the original test was Contractor's responsibility.

- The cost of retesting construction, revised or replaced by the Contractor, is the Contractor's responsibility where required tests performed on original construction indicated noncompliance with Contract Document requirements.

- Associated Services:  Cooperate with agencies performing required inspections, tests, and similar services, and provide reasonable auxiliary services as requested.  Notify the agency sufficiently in advance of operations to permit assignment of personnel.  Auxiliary services required include, but are not limited to, the following:

- Provide access to the Work.

- Furnish incidental labor and facilities necessary to facilitate inspections and tests.

- Take adequate quantities of representative samples of materials that require testing or assist the agency in taking samples.

- Provide facilities for storage and curing of test samples.

- Deliver samples to testing laboratories.

- Provide the agency with a preliminary design mix proposed for use for materials mixes that require control by the testing agency.

- Provide security and protection of samples and test equipment at the Project Site.

RETAIN THE FOLLOWING PARA ON DUTIES OF THE TESTING AGENCY WHEN CONTRACTOR EMPLOYS THE AGENCY.

- Duties of the Testing Agency: The independent agency engaged to perform inspections, sampling, and testing of materials and construction specified in individual Sections shall cooperate with the University and the Contractor in performance of the agency's duties.  The testing agency shall provide qualified personnel to perform required inspections and tests.

- The agency shall notify the University and the Contractor promptly of irregularities or deficiencies observed in the Work during performance of its services.

- The agency is not authorized to release, revoke, alter, or enlarge requirements of the Contract Documents or approve or accept any portion of the Work.

- The agency shall not perform any duties of the Contractor.

IN THE CASE OF MULTIPLE PRIME CONTRACTS, COORDINATE REQUIREMENTS WITH PROVISIONS IN DIVISION 1 SECTION "COORDINATION - MULTIPLE PRIME CONTRACTS."  CONSIDER ASSIGNING RESPONSIBILITY FOR COORDINATION TO CONTRACTOR FOR GENERAL CONSTRUCTION.  SEE EVALUATIONS FOR FURTHER DISCUSSION.

- Coordination:  Coordinate the sequence of activities to accommodate required services with a minimum of delay.  Coordinate activities to avoid the necessity of removing and replacing construction to accommodate inspections and tests.

- The Contractor is responsible for scheduling times for inspections, tests, taking samples, and similar activities.

  - SUBMITTALS

RETAIN PARA BELOW.  REVISE TO SUIT PROJECT.  IN THE CASE OF MULTIPLE PRIME CONTRACTS, CONSIDER ASSIGNING RESPONSIBILITY FOR COORDINATION OF SUBMITTALS TO CONTRACTOR FOR GENERAL CONSTRUCTION.  SEE EVALUATIONS FOR FURTHER DISCUSSION.

- Unless the Contractor is responsible for this service, the independent testing agency shall submit a certified written report, in duplicate, of each inspection, test, or similar service to the University. If the Contractor is responsible for the service, submit a certified written report, in duplicate, of each inspection, test, or similar service through the Contractor.

- Submit additional copies of each written report directly to the governing authority, when the authority so directs.

REVISE OR EXPAND SUBPARA BELOW AS REQUIRED TO SUIT PROJECT.

- Report Data:  Written reports of each inspection, test, or similar service include, but are not limited to, the following:

- Date of issue of report.

- Project title and number.

- Name, address, and telephone number of testing agency.

- Dates and locations of samples and tests or inspections.

- Names of individuals making the inspection or test.

- Designation of the Work and test method.

- Identification of product and Specification Section.

- Complete inspection or test data.

- Test results and an interpretation of test results.

- Ambient conditions at the time of sample taking and testing.

- Comments or professional opinion on whether inspected or tested Work complies with Contract Document requirements.

- Name and signature of laboratory inspector.

- Recommendations on retesting.

  - QUALITY ASSURANCE

RETAIN PARA BELOW.  SPECIFY EXCEPTIONS, SUCH AS ASTM LABORATORY PREQUALIFICATION STANDARDS, IN INDIVIDUAL SECTIONS.  POSSIBLY INSERT REQUIREMENT FOR SUBMITTAL OF PROOF OF QUALIFICATIONS IN THE FORM OF A RECENT REPORT ON THE INSPECTION OF THE LABORATORY BY A RECOGNIZED AUTHORITY.

- Qualifications for Service Agencies: Engage inspection and testing service agencies, including independent testing laboratories, that are prequalified as complying with the American Council of Independent Laboratories' "Recommended Requirements for Independent Laboratory Qualification" and that specialize in the types of inspections and tests to be performed.

- Each independent inspection and testing agency engaged on the Project shall be authorized by authorities having jurisdiction to operate in the state where the Project is located.

PART 2 – PRODUCTS (Not Applicable)IF OWNER IDENTIFIES SPECIFIC TESTING AGENCIES TO PERFORM DESIGNATED TESTS AND INSPECTIONS, DELETE "(NOT APPLICABLE)" ABOVE AND INSERT PARAS IDENTIFYING THE INDEPENDENT AGENCIES HERE.

PART 3 – EXECUTION

- REPAIR AND PROTECTION

- General:  Upon completion of inspection, testing, sample taking and similar services, repair damaged construction and restore substrates and finishes.  Comply with Contract Document requirements for Division 01 Section "Cutting and Patching."

IN THE CASE OF MULTIPLE PRIME CONTRACTS, CONSIDER ASSIGNING RESPONSIBILITY FOR PROTECTION TO CONTRACTOR FOR GENERAL CONSTRUCTION.  SEE EVALUATIONS FOR FURTHER DISCUSSION.

- Protect construction exposed by or for quality-control service activities, and protect repaired construction.

- Repair and protection is Contractor's responsibility, regardless of the assignment of responsibility for inspection, testing, or similar services.

END OF SECTION 014000