a/e - Edit each discipline drawing number and sheet title for the project requirements. When additional drawing numbers and sheet titles are required modify each discipline accordingly conforming to the drawing numbering system below.

Example: adding a 7th & 8th Floor use A107 & A108 for the floor plans and the roof plan becomes A109, etc. When Basement Floor Plans are not used do not use number 100.

Last Edit 6-10-08

umb standard drawing numbers and sheet titles

GENERAL

G000	UMB Standard Cover Sheet

Civil

cD100	CIVIL DEMOLITION

c200	STREETSCAPE PLAN

C201	STREETSCAPE DETAILS

C202	PUBLIC CURB/SIDEWALK REPLACEMENT PLAN

C203 	PUBLIC CURB/SIDEWALK REPLACEMENT PLAN

C300	public water plan and profiles

c301	public storm drain plan and profiles

C302	sanitary plan and profiles

c303	electrical ductbank profiles

c400	stormwater management drainage study area

C401	stormwater management details

LANDSCAPE

LD100 	LANDSCAPE DEMOLITION

L001 	LANDSCAPE AND IRRIGATION NOTES AND SYMBOLS

L100	LANDSCAPE AND IRRIGATION SITE PLAN

L200	LANDSCAPE AND IRRIGATION GRADING PLAN

L300	LANDSCAPE AND IRRIGATION PLANT PLAN

L400	LANDSCAPE AND IRRIGATION DETAILS

Structural

S001	General Notes, CODE & engineering DATA

S002	General Notes

SD100	BASEMENT FLOOR DEMOLITION PLAN

SD101	FIRST FLOOR DEMOLITION PLAN

SD102	SECOND FLOOR DEMOLITION PLAN

SD103	THIRD FLOOR DEMOLITION PLAN

SD104	FOURTH FLOOR DEMOLITION PLAN

SD105	FIFTH FLOOR DEMOLITION PLAN

SD106	SIXTH FLOOR DEMOLITION PLAN

SD107	ROOF DEMOLITION PLAN

S100 	FOUNDATION AND BASEMENT FLOOR FRAMING PLAN

S101	FIRST FLOOR FRAMING PLAN

S102	second floor framing plan

S103	Third Floor Framing Plan

s104	fourth floor framing plan

s105	Fifth Floor and Low Roof Framing Plan

s106	sixth floor framing plan

s107	roof and machine room framing plan

s108	roof framing plan

S200 	FOUNDATION WALL ELEVATIONS AND SECTIONS

S300	typical Details

S301	typical Details

S302	typical Details

s400	sections and details

s401	sections and details

s402	sections and details

s403	sections and details

s501	column schedule

Architectural

A001	GENERAL NOTES SYMBOLS AND ABBREVIATIONS

A002	code analysis, federal accessibility standards, and building construction standards

A003	Life Safety bASEMENT AND FIRST Floor planS

A004	Life Safety SECOND AND THIRD Floor Plans

A005	Life Safety FOURTH AND FIFTH Floor Plans

A006	Life Safety SIXTH Floor AND ROOF Plans

AD100	BASEMENT FLOOR DEMOLITION PLAN

AD101	FIRST FLOOR DEMOLITION PLAN

AD102	SECOND FLOOR DEMOLITION PLAN

AD103	THIRD FLOOR DEMOLITION PLAN

AD104	FOURTH FLOOR DEMOLITION PLAN

AD105	FIFTH FLOOR DEMOLITION PLAN

AD106	SIXTH FLOOR DEMOLITION PLAN

AD107	ROOF DEMOLITION PLAN

a100 	basement floor plan

A101	First Floor Plan

A102	Second Floor Plan

A103	Third Floor Plan

A104	Fourth Floor Plan

A105	Fifth Floor Plan

a106	sixth floor plan

A107	PENTHOUSE FLOOR PLAN

A108	Roof Plan

A120	BASEMENT FLOOR REFLECTED CEILING PLAN

a121	first floor reflected ceiling plan

a122	Second floor reflected ceiling plan

a123	Third floor reflected ceiling plan

a124	Fourth floor reflected ceiling plan

a125	Fifth floor reflected ceiling plan

a126	Sixth floor reflected ceiling plans

a127	penthouse reflective ceiling plan

A130	BASEMENT FLOOR FINISH PLAN AND KEY PLAN

A131	First Floor Finish Plan AND KEY PLAN

A132	Second Floor Finish Plan AND KEY PLAN

A133	Third Floor Finish Plan AND KEY PLAN

A134	Fourth Floor Finish Plan AND KEY PLAN

A135	Fifth Floor Finish Plan AND KEY PLAN

A140 	BASEMENT FLOOR SIGNAGE PLAN

A141	First Floor SIGNAGE Plan

A142	Second Floor SIGNAGE Plan

A143	Third Floor SIGNAGE Plan

A144	Fourth Floor SIGNAGE Plan

A145	Fifth Floor SIGNAGE Plan

a146	sixth floor AND ROOF SIGNAGE planS

A200	exterior Elevations

A201	Elevations

A202	Elevations

a210	exterior ENLARGED ElevationS

a211	exterior ENLARGED ElevationS

a220	interior elevations

a221 	interior elevations

A300	Building Sections east - west

A301	Building Sections north - south

A310	EXTERIOR Wall Sections

A311	EXTERIOR Wall Sections

A312	EXTERIOR WALL SECTIONS

A320 	INTERIOR WALL SECTIONS

A400	Stair #1 Floor Plans and Section

A401	StairS #2, 3 AND 4 Floor Plans and Sections

A410	STAIR DETAILS

A420	ELEVATOR FLOOR PLANS and section

A430	ENLARGED LOBBY AND TOILET ROOM FINISH PLANS

A440	ENLARGED FLOOR PLANS AND INTERIOR ELEVATIONS

A500	Plan Details

A501	Plan Details

A510	Reflected Ceiling Plan Details

A520	Section Details

A521	Section Details

A530 	Partition types and Details

A540 	DOOR DETAILS

A550 	WINDOW DETAILS

A560	STOREFRONT AND LOUVER DETAILS

A600	DOOR SCHEDULES

A610	WINDOW SCHEDULES

A620	Storefront and Louver Schedules

mechanical

M001	mechanical Legend ABBREVIATIONS, project mechanical engineering data and General notes

MD100	BASEMENT FLOOR DEMOLITION PLAN – HVAC

MD101	FIRST FLOOR DEMOLITION PLAN – HVAC

MD102	SEOND FLOOR DEMOLITION PLAN – HVAC

MD103	THIRD FLOOR DEMOLITION PLAN – HVAC

MD104	FOURTH FLOOR DEMOLITION PLAN – HVAC

MD105	FIFTH FLOOR DEMOLITION PLAN – HVAC

MD106	SIXTH FLOOR DEMOLITION PLAN – HVAC

MD107	ROOF DEMOLITION PLAN – HVAC

M100	BASEMENT FLOOR PLAN – HVAC

M101	first floor plan – HVAC

m102	second floor plan - HVAC

m103	third floor plan - HVAC

m104	fourth floor plan - HVAC

m105	fifth floor plan - HVAC

m106	sixth floor plan - HVAC

M107	PENTHOUSE FLOOR PLAN – HVAC

m108	roof plan – MECHANICAL

MD200	BASEMENT FLOOR DEMOLITION PLAN – HVAC PIPING

MD201	FIRST FLOOR DEMOLITION PLAN – HVAC PIPING

MD202	SEOND FLOOR DEMOLITION PLAN – HVAC PIPING

MD203	THIRD FLOOR DEMOLITION PLAN – HVAC PIPING

MD204	FOURTH FLOOR DEMOLITION PLAN – HVAC PIPING

MD205	FIFTH FLOOR DEMOLITION PLAN – HVAC PIPING

MD206	SIXTH FLOOR DEMOLITION PLAN – HVAC PIPING

MD207	ROOF DEMOLITION PLAN – HVAC PIPING

M200 	BASEMENT FLOOR PLAN – HVAC PIPING

M201	first floor plan – HVAC PIPING

M202	SECOND floor plan – HVAC PIPING

M203	third floor plan – HVAC PIPING

M204	fourth floor plan – HVAC PIPING

M205	fifth floor plan – HVAC PIPING

M206	sixth floor plan – HVAC PIPING

M207	PENTHOUSE FLOOR PLAN – HVAC PIPING

m208	roof plan – HVAC PIPING

m300	mechanical room part plans

m400	AIR HANDLING UNIT PLAN & ELEVATION

m500	mechanical controls

m501	mechanical riser and schematic diagrams

m600	mechanical details

m601	mechanical details

m602	mechanical details

m700	mechanical schedules

m701	mechanical schedules

m702	mechanical schedules

m703	mechanical schedules

PLUMBING

P001	PLUMBING LEGEND, GENERAL NOTES & SCHEDULES

PD100	BASEMENT FLOOR DEMOLITION PLAN – PLUMBING

PD101	FIRST FLOOR DEMOLITION PLAN – PLUMBING

PD102	SEOND FLOOR DEMOLITION PLAN – PLUMBING

PD103	THIRD FLOOR DEMOLITION PLAN – PLUMBING

PD104	FOURTH FLOOR DEMOLITION PLAN – PLUMBING

PD105	FIFTH FLOOR DEMOLITION PLAN – PLUMBING

PD106	SIXTH FLOOR DEMOLITION PLAN – PLUMBING

PD107	ROOF DEMOLITION PLAN – PLUMBING

P100	BASEMENT FLOOR PLAN – PLUMBING

P101	FIRST FLOOR PLAN – PLUMBING

P102	SECOND FLOOR PLAN - PLUMBING

P103	THIRD FLOOR PLAN - PLUMBING

P104	FOURTH FLOOR PLAN - PLUMBING

P105	FIFTH FLOOR PLAN - PLUMBING

P106	SIXTH FLOOR PLAN – PLUMBING

P107	PENTHOUSE FLOOR PLAN – PLUMBING

P108	ROOF PLAN – PLUMBING

P200	PART PLANS – PLUMBING

P300	DOMESTIC WATER RISER DIAGRAMS

P301	SANITARY RISER DIAGRAMS

P302 	COMPRESSER AIR AND VACUUM SYSTEM DIAGRAMS

P303 	RO / DI WATER STSREM DIAGRAMS

P400	PLUMBING DETAILS

FIRE PROTECTION

FP001	FIRE PROTECTION LEGEND, GENERAL NOTES

FPD100	BASEMENT FLOOR DEMOLITION PLAN – sPRINKLER

FPD101	FIRST FLOOR DEMOLITION PLAN – sPRINKLER

FPD102	SEOND FLOOR DEMOLITION PLAN – sPRINKLER

FPD103	THIRD FLOOR DEMOLITION PLAN – sPRINKLER

FPD104	FOURTH FLOOR DEMOLITION PLAN – sPRINKLER

FPD105	FIFTH FLOOR DEMOLITION PLAN – sPRINKLER

FPD106	SIXTH FLOOR DEMOLITION PLAN – sPRINKLER

FPD107	ROOF DEMOLITION PLAN – sPRINKLER

FP100	BASEMENT FLOOR PLAN – sPRINKLER

FP101	FIRST FLOOR PLAN – sPRINKLER

FP102	SECOND FLOOR PLAN - sPRINKLER

FP103	THIRD FLOOR PLAN - sPRINKLER

FP104	FOURTH FLOOR PLAN - sPRINKLER

FP105	FIFTH FLOOR PLAN - sPRINKLER

FP106	SIXTH FLOOR PLAN – sPRINKLER

FP107	PENTHOUSE FLOOR PLAN – SPRINKLER

FP108	ROOF PLAN – sPRINKLER

FP200	PART PLAN – sPRINKLER

FP300	FIRE PROTECTION RISER DIAGRAM

FP400	sPRINKLER DETAILS

electrical

e001	legend, abbreviations and lighting fixture schedule and electrical engineering data

ED100	BASEMENT FLOOR DEMOLITION PLAN – POWER

ED101	FIRST FLOOR DEMOLITION PLAN – POWER

ED102	SEOND FLOOR DEMOLITION PLAN – POWER

ED103	THIRD FLOOR DEMOLITION PLAN – POWER

ED104	FOURTH FLOOR DEMOLITION PLAN – POWER

ED105	FIFTH FLOOR DEMOLITION PLAN – POWER

ED106	SIXTH FLOOR DEMOLITION PLAN – POWER

ED107	ROOF DEMOLITION PLAN – POWER

E100	BASEMENT FLOOR PLAN – POWER

e101	first floor plan – power

e102	second floor plan – power

e103	third floor plan – power

e104	fourth floor plan – power

e105	fifth floor plan – power

e106	sixth floor plan – power

E107	PENTHOUSE FLOOR PLAN – POWER

e108	roof plan – power

ED200	BASEMENT FLOOR DEMOLITION PLAN – LIGHTING

ED101	FIRST FLOOR DEMOLITION PLAN – LIGHTING

ED202	SEOND FLOOR DEMOLITION PLAN – LIGHTING

ED203	THIRD FLOOR DEMOLITION PLAN – LIGHTING

ED204	FOURTH FLOOR DEMOLITION PLAN – LIGHTING

ED205	FIFTH FLOOR DEMOLITION PLAN – LIGHTING

ED206	SIXTH FLOOR DEMOLITION PLAN – LIGHTING

ED207	ROOF DEMOLITION PLAN – LIGHTING

E200	BASEMENT FLOOR PLAN – LIGHTING

e201	first floor plan – lighting

e202	second floor plan – lighting

e203	THIRD floor plan – lighting

e204	FOURTH floor plan – lighting

e205	fifth floor plan – lighting

e206	sixth floor plan – lighting

E207	PENTHOUSE FLOOR PLAN – LIGHTING

e208	roof plan – lighting

e300	one-line riser diagram

e301	fire alarm riser diagram

E302	FIRE ALARM GRAPHIC ANNUNCIATOR

E400	ELECTRICAL PANEL SCHEDULE

audio visual and telecommunications

ta001	audio visual and telecommunications title sheet

ta101	telecommunications system osp

ta102	telecommunications riser details

ta103	telecommunications details

ta104	telecommunications rack elevations

ta105	telecommunications rack elevations

ta200	audio visual and telecommunications basement floor plan

ta201	audio visual and telecommunications first floor

ta202	audio visual and telecommunications SECOND floor

ta203	audio visual and telecommunications THIRD floor

ta204	audio visual and telecommunications FOURTH floor

ta205	audio visual and telecommunications fifth floor

ta206	audio visual and telecommunications SIXTH floor

security

ty001	symbols, legends and abbreviations – security

ty100	basement floor plan - security

ty101	first floor plan – security

ty103	THIRD floor plan – security

ty105	FIFTH floor plan – security

ty107	roof plan – security

ty400	details, DOORS AND RACK ELEVATION

ty401	details – CCTV CAMERAS

ty600	risers – security

ty601	risers – security DOOR DEVICES

ty602	risers – security SYSTEM